250 Zonetail Cove: Specifications

House Summary

- Total Conditioned Square Footage: 4,588 sq. ft.

- Total Covered Square Footage: 6,765 sq. ft.

- Bedrooms: 4

- Bathrooms: 4.5

- Additional Spaces: One study, one built in bar

- Garage: Three car garage with epoxy floor finish

Pool and Outdoor Amenities

- Pool: Pool and spa

- Outdoor Kitchen: CMU/Stone structure with:

  - Propane Grill

  - Sink

  - Fridge

  - Electrical Outlets

  - Countertop: Quartzite

Foundation

- Type: Slab foundation with post-tension reinforcement

Exterior Specifications

- Structure: Wood framing with engineered trusses and beams

- Roof: Standing seam, 24-gauge metal (Charcoal Grey)

- Soffits and Ceilings: Hardie soffits and T&G pine porch ceilings

- Masonry: Stucco & irregular cut limestone

- Siding: Thermally modified wood accents

- Windows & Doors:

  - Andersen 100 Series windows

  - Western sliding doors

  - Steel entry door

- Insulation: Open cell spray foam encapsulation at exterior walls, roof decking, and garage; sound attenuation batts in all interior walls

- Porch Posts & Beams: Painted steel

- Landscaping: Combination of new lawn, plantings, and native vegetation with black aluminum vertical picket fencing.

- Driveway, Walkways, & Porches: Pavers driveway, and tile overlay on porches

Interior Specifications

- Decorative Beams: Stained Douglas Fir

- Walls & Ceilings: Smooth finish drywall

- Interior Doors: Solid, wood core, painted

- Interior Trim:

  - Flush detail base trim: 1x6 finger-joint pine, painted

  - Doors: trimless detail

- Cabinetry: White Oak with a natural stain with soft-close doors and drawers

- Countertops & Backsplashes: 3CM Quartz/Quartzite

- Flooring:

  - Downstairs: Engineered hardwood (tile in bath & laundry)

  - Stairs & Landing: Engineered hardwood

  - Upstairs: Engineered hardwood (tile in baths)

- Closets: Wood rod and painted MDF shelves, site-built

- Shower Enclosures: Frameless, 3/8” clear glass

Mechanical, Electrical, and Plumbing

- HVAC: Carrier heat pump units

- Water Heaters: Two tankless water heaters

- Propane: 1,000-gallon tank, buried

- Electrical:

  - Electric car charger in the garage

  - House equipped for future generator installation